Program Application: Read the Scanner Card values from two individual M3500ASC(Standard M3500A with built-in Scanner Card) into one PC simultaneously.

Notice: This program is only for Scanner Card readings acquire.

Executing Procedure:

Step 1: Please check the connection between computer and M3500ASCs are

connected, and then confirm the power of Multimeters are on.

Step 2: Click ” Execute” to perform the program. The readings will show in the

grids as “Figure -A “.

============================================================

程式功能 : 執行同時對兩部裝有 Scanner Card 的 M3500A 進行 Scanner Card

讀值

程式步驟 : 程式處理步驟為

步驟一、檢查 M3500A 連接狀況，此程式最多可同時處理兩部 M3500A

的 Scanner Card 讀值，若執行電腦尚未連接開啟的 M3500A，

無法進行後續的 Scanner Card 讀值步驟。

步驟二、使用者點選 Execute 按鈕後，程式檢查連接開啟的 M3500A 設備

中是否配有 Scanner Card，只有配有 Scanner Card 的 M3500A 才

會進行讀值。

步驟三、將讀值結果顯示在對應的 Grid 中

程式內容 : 此程式為 Scanner Card 讀值範例，讀值的設定內容為

讀值檔位 : 四線電阻 ( 只有 Channel 1 ~ 5 有值 )

讀值筆數 : 20 筆